PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 27 16 00 - COMMUNICATIONS DEVICES and ADAPTORS

SECTION 27 16 16 - COMMUNICATIONS ADAPTORS and TRANSCEIVERS

TYPE EL1551UW ETHERNET EXTENDER SYSTEM – NEMA TS-2

PART 1 GENERAL

1.01	All equipment to be supplied under this specification shall be new and the current model of a standard product of an OEM of record. An OEM of record shall be defined a company whose main occupation is the manufacture for sale of the equipment supplied and which:

- Maintains a factory production line for the item submitted.

- Maintains a stock of replacement parts for the item submitted.

- Maintains engineering drawings, specifications, and operating manuals for the items submitted.

- Has published and distributed descriptive literature and equipment specifications on the items of equipment submitted.

1.02	Specifications of equipment as set forth herein are salient and minimum requirements, unless otherwise stated and shall not be construed as limiting the overall quality, quantity or performance characteristics of items furnished.

1.03	Systems and components shall have been thoroughly tested and proven in actual use.

1.04	All systems and components shall be provided with the availability of a toll free (U.S. and Canada) technical support number from the manufacturer. The number shall provide technical assistance for either the dealer/installer or the end user at no charge.

PART 2 SPECIFICATIONS

2.01	The outdoor  rated Ethernet Extender System for operation over a Single Twisted Pair shall be a NITEK Model  EL1551UW and shall be capable of providing PoE power and transmitting IP Ethernet network data over standard single twisted pair cables for distances of up to 1,600 feet (500 meters) over a 10/100 network.

2.02	The Outdoor Rated Ethernet Extender Single Twisted Pair System shall  comprise NEMA TS-2 rated Transmitter and Receiver Units.,. The Transmitter shall be enclosed in a NEMA4X enclosure., The Transmitter  and  Receiver units  shall be in self-contained  aluminum extruded cases 1.1"H x 1.6"W x 5.1"D. The 5.1” dimension being the bottom panel and shall include two mounting tabs, one at each end. The Transmitter unit shall be enclosed in a NEMA 4X rated enclosure, to provide protection for the Transmitter from the adverse effects of atmospheric elements and shall be  8.25 x 5.74 x 2.17 with two (2) waterproof cable grommets located on one of the end panels of the enclosure.. Four cover screw holes for securing the face plate to the face body shall be located outside the sealed area to prevent the ingress of moisture and dust. Four cover mounting screws of M-4 non-magnetic Stainless Steel shall fasten into threaded Brass inserts in the case, to mount the cover.

2.03	The Left Panel of both the Transmitter and Receiver units shall provide an RJ45 Network Port for connection to the Ethernet. The RJ45 housing shall contain two LED indicators viewable from the Left Panel. A white LED to indicate PoE power present and a green LED to indicate Ethernet connected.

2.04	The Right Panel of both Transmitter and Receiver units shall provide a Link Port 2-position female connector for connection to the single twisted pair cable by means of a separate plug-in 2 screw terminal connector, which shall also be provided and  two

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 27 16 00 - COMMUNICATIONS DEVICES and ADAPTORS

SECTION 27 16 16 - COMMUNICATIONS ADAPTORS and TRANSCEIVERS

TYPE EL1551UW ETHERNET EXTENDER SYSTEM – NEMA TS-2

PART 2 - SPECIFICATIONS (continued)

separate LED status indicators; white to indicate PoE power present when illuminated and green to indicate a 100Mb Ethernet link, when illuminated.

2.05	The Receiver unit of the  Single Twisted Pair Ethernet Extender System  shall be powered by either an external PoE supply, NITEK Model IP1054 or approved equivalent, or network switch with PoE output. PoE supplies shall be compliant with IEEE802.3af or IEEE 802.3at and shall be capable of providing PoE power over the single twisted pair cable to power the Transmitter unit and the connected network device, per paragraph 2.06.

2.06	The Ethernet Extender System Single Twisted Pair Transmitter unit shall be powered from the Receiver unit over the connected single twisted pair cable. A local PoE supply, NITEK Model PS48 or equivalent, shall be connected at the enclosed Transmitter to provide supplemental power. An optional 2.5mm mini-jack for external PoE power input connection shall also be provided on the Left Panel, of the enclosed Transmitter unit for this purpose.

2.07	The Ethernet Extender System Single Twisted Pair shall support any standard Network device, shall support mega-pixel cameras and multi-camera installations.

2.08	The Ethernet Extender System Single Twisted Pair shall operate in a manner that is completely transparent to the Network. The System shall require no IP or MAC addresses. The system shall operate as follows:

A.	A single twisted pair cable shall be connected between the 2-position connectors on the enclosed Transmitter and Receiver.

B.	A patch cable from the Receiver shall connect to the head-end Network equipment and a patch cable from the enclosed Transmitter shall connect to the network device.

C.	With PoE power applied to the enclosed Transmitter, the Receiver shall receive 	power, immediately establish a link with the Transmitter and begin operating as a full-duplex 100BaseT Ethernet conduit.

D.	LED indicators on both the enclosed Transmitter and Receiver units shall be illuminated to indicate Power (white LED) and Data connection (green LED).

2.09	The Ethernet Extender System Transmitter and Receiver Units shall be Environmentally Hardened to meet NEMA TS-2 Specifications:

A. Temperature & Humidity – NEMA 2.2.7

Operating Temperature Range  -40° to 75°C/ -40° to 167°F

B. Mechanical Vibration – NEMA 2.2.8

C. Mechanical Shock – NEMA 2.2.9

D. Operating Voltage – NEMA 2.1.2

E. Operating Frequency – NEMA 2.1.3

F. Transient Test – NEMA 2.1.6 through 2.1.8

2.10	The EL1551UW shall have a limited lifetime warranty.

# Text boxes

17JUL2013