PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 27 16 00 - COMMUNICATIONS DEVICES and ADAPTORS

SECTION 27 16 16 - COMMUNICATIONS ADAPTORS and TRANSCEIVERS

TYPE ET1551U ETHERNET EXTENDER TRANSMITTER – NEMA TS-2

PART 1 GENERAL

1.01	All equipment to be supplied under this specification shall be new and the current model of a standard product of an OEM of record. An OEM of record shall be defined a company whose main occupation is the manufacture for sale of the equipment supplied and which:

- Maintains a factory production line for the item submitted.

- Maintains a stock of replacement parts for the item submitted.

- Maintains engineering drawings, specifications, and operating manuals for the items submitted.

- Has published and distributed descriptive literature and equipment specifications on the items of equipment submitted.

1.02	Specifications of equipment as set forth herein are salient and minimum requirements, unless otherwise stated and shall not be construed as limiting the overall quality, quantity or performance characteristics of items furnished.

1.03	Systems and components shall have been thoroughly tested and proven in actual use.

1.04	All systems and components shall be provided with the availability of a toll free (U.S. and Canada) technical support number from the manufacturer. The number shall provide technical assistance for either the dealer/installer or the end user at no charge.

PART 2 SPECIFICATIONS

2.01	The Ethernet Extender Transmitter over UTP shall be a NITEK Model ET1551U or approved equivalent. The ET1551U System shall be capable of transmitting IP Ethernet network data over a single unshielded twisted pair (UTP) of a category 5 or better, network cable for distances of up to 1,600 feet (500 meters) over a 10/100 network.

2.02	The Ethernet Extender Transmitter over UTP shall consist of a Transmitter device which shall operate in conjunction with the NITEK ER1651U Receiver as a part of the Ethernet and PoE over Coax Extender System. The Ethernet Extender System Transmitter over UTP shall be in a self-contained aluminum extruded case 1.1"H x 1.6"W x 4.6"D. The 4.6” dimension being the bottom panel and shall include two mounting tabs, one at each end.

2.03	The Left Panel of the Ethernet Extender System UTP Transmitter device shall provide an RJ45 Network Port for connection of the Receiver to the Ethernet and the Transmitter to the Network Device. The RJ45 housing shall contain two LED indicators viewable from the Left Panel. A white LED to indicate PoE power present and a green LED to indicate Ethernet connected.

2.04	The Right Panel of the  Ethernet Extender System UTP Transmitter device shall provide a Link Port RJ45 type connector for connection to the UTP cable linking the Transmitter & Receiver units and two separate LED status indicators; white to indicate PoE power present when illuminated and green to indicate a 100Mb Ethernet link, when illuminated.

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 27 16 00 - COMMUNICATIONS DEVICES and ADAPTORS

SECTION 27 16 16 - COMMUNICATIONS ADAPTORS and TRANSCEIVERS

TYPE ET1551U ETHERNET EXTENDER TRANSMITTER – NEMA TS-2

PART 2 – SPECIFICATIONS (continued)

2.05	The Ethernet Extender Transmitter over UTP unit shall be powered by the ER1651U’s integrated PoE supply. The ER1651U’s PoE supplies power compliant with IEEE802.3af and IEEE 802.3at and shall be capable of providing PoE power over the UTP cable to power the ET1500U Transmitter unit and the connected network device, as per paragraph 2.06.

2.06	The Transmitter unit shall be powered from the Receiver unit over the connected single twisted pair cable. The Transmitter unit shall provide the means to send power to the connected network device by use of an external 48VDC power supply, NITEK Model PS48 or approved equivalent. A 2.5mm mini-jack on the left panel of the Transmitter unit shall provide the power input connection for  PoE  power to the connected network device on the RJ45 output.,

2.07	The Ethernet Extender System UTP shall support any standard Network device, shall support mega-pixel cameras and multi-camera installations.

2.08	The Ethernet Extender System UTP shall operate in a manner that is completely transparent to the Network. The system shall require no IP or MAC addresses. The system shall operate as follows:

A.	A UTP cable, per paragraph 2.01, shall be connected between the RJ45 Link Port connectors on the Transmitter and Receiver.

B.	A patch cable from the Receiver shall connect to the head-end 	Network equipment and a patch cable from the enclosed Transmitter shall connect to the network device.

C.	With PoE power applied to the enclosed Transmitter, the Receiver shall receive power, then immediately establish a link with the Transmitter and begin operating as a full-duplex 100BaseT Ethernet conduit.

D.	LED indicators on both the Ethernet Extender System UTP Transmitter and Receiver units shall be illuminated to indicate Power (white LED) and Data connection (green LED).

2.09	The Ethernet Extender Transmitter shall be Environmentally Hardened to meet NEMA TS-2 Specifications:

A. Temperature & Humidity – NEMA 2.2.7

Operating Temperature Range  -40° to 75°C/ -40° to 167°F

B. Mechanical Vibration – NEMA 2.2.8

C. Mechanical Shock – NEMA 2.2.9

D. Operating Voltage – NEMA 2.1.2

E. Operating Frequency – NEMA 2.1.3

F. Transient Test – NEMA 2.1.6 through 2.1.8

2.10	The ET1551U shall have a limited lifetime warranty.

17JUL2013