PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 28 23 00  - VIDEO SURVEILLANCE

SECTION 28 23 23  - VIDEO SURVEILLANCE SYSTEMS INFRASTRUCTURE

TYPE DVRPTR16 DVR VIDEO, POWER, AND PTZ DATA SURGE

PROTECTOR

PART 2 – PRODUCTS

2.1 GENERAL

2.1.1   All equipment to be supplied under this specification shall be new and the current

model of a standard product of an OEM of record. An OEM of record shall be

defined a a company whose main occupation is the manufacture for sale of the

equipment supplied and which:

- Maintains a factory production line for the item submitted.

- Maintains a stock of replacement parts for the item submitted..

- Maintains engineering drawings, specifications, and operating manuals for the items submitted.

- Has published and distributed descriptive literature and equipment specifications on the items of equipment submitted.

    - Specifications of equipment as set forth herein are salient and minimum requirements, unless otherwise stated and shall not be construed as limiting the overall quality, quantity or performance characteristics of items furnished.

    - Systems and components shall have been thoroughly tested and proven in actual use.

    - All systems and components shall be provided with the availability of a toll free (U.S. and Canada) technical support number from the manufacturer. The number shall provide technical assistance for either the dealer/installer or the end user at no charge

2.2  SPECIFICATIONS

    - The DVR video, power, and PTZ data surge protector shall be a NITEK Model DVRPTR16 or approved equivalent, and shall be a multi-function surge protector for the DVR in-line coaxial video, RS422 twisted pair, the 24 VAC, and 12 VDC camera supply incoming signals. The DVRPTR16 shall provide protection as stated in paragraph 2.2.2. The DVRPTR16 shall do so via coax BNC connectors and screw input terminals provide multi-stage surge protection for DVRs and other                 head-end/control room equipment over RG59 coax cable and twisted pair 24AWG or better wire.

    - The DVRPTR16 shall provide separate protection for all video, power and PTZ data signals into a DVR. DVR video signals shall be protected via sixteen (16) Coax BNC connectors labled “Protected” and “Unprotected”. The “Protected” BNC connectors shall provide direct protection to the DVR video inputs. Two (2) banks of screw terminals also labled “Protected” and “Unprotected” shall provide protection for the DVR the PTZ data signals and camera power supply inputs. The “Protected” terminals provide direct protection for the all DVR signal inputs.

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 28 23 00 -  VIDEO SURVEILLANCE

SECTION 28 23 23  - VIDEO SURVEILLANCE SYSTEMS INFRASTRUCTURE

TYPE DVRPTR16 DVR VIDEO, POWER, AND PTZ DATA SURGE

PROTECTOR

PART 2 – PRODUCTS (Continued)

    - The NITEK DVRPTR16 shall be capable of protecting all DVR video, PTZ data, and camera power supply signal inputs from harmful surges, spikes, and transients. The DVRPTR16 shall have a clamping voltage of 2.8 up to 100,000 volts.

    - The DVRPTR16 shall be of the multi-stage clamping design.

    - The DVRPTR16 shall not require power to operate as specified.

    - The DVRPTR16 shall have a heavy single point cooper ground lug to accommodate proper earth to grounding procedures.

    - The DVRPTR16 DVR signal inputs shall be indicated by “Protected” and signal outputs shall be indicated by the “Unprotected” identifier.

    - The DVRPTR16 shall be able to be installed at the DVR and the head-end/control room location.

    - The DVRPTR16 shall operate within specifications without causing interference or interfering with base band video, communication, data and/or low-voltage signals operating over coax, twisted pair, or non-stranded power cables as specified in paragraph 2.2.1.

    - The DVRPTR16 shall be installed in a standard or non-standard equipment rack along with the DVR and other head-end/control room equuipment and shall be 1 RU.

2.2.11	The CAMPVC24 shall be covered by a Limited Lifetime Warranty.

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 28 23 00 -  VIDEO SURVEILLANCE

SECTION 28 23 23  - VIDEO SURVEILLANCE SYSTEMS INFRASTRUCTURE

TYPE DVRPTR16 DVR VIDEO, POWER, AND PTZ DATA SURGE

PROTECTOR

2.3  PERFORMANCE SPECIFICATIONS

    - The DVRPTR16 shall meet or exceed the following performance specifications:

- The surge protector device shall be capable of passing through a color video signal of NTSC standard 525 lines or PAL standard 625 lines.

- Video Format compatibility: RS170, NTSC, PAL, SECAM, CCIR (Color or Monochrome).

- Connection Methods: Video – Female BNC Connectors, Power – Screw Terminlas, PTZ Data – Screw Terminals

- Clamping Voltage: Video – 2.8V, Power – 33Vrms, PTZ data control – 4.7V.

- Transient Protection: IEC61000-4-4 (EFT) 40A (5/50ns) IEC61000-4-5 (Lightning) 24A (8/20μs)

- Voltage requirements: No Power Supply is required.

- Power consumption: None

- Video Insertion Loss: <0.2dB

- Impedance: 50 or 75 Ohms

- Frequency: DC to 10 MHz

- Shipping Weight: 3 lbs / 1.360 kg

- The dimension are 1RU

- Temperature of -20°C to +65°C/ -4°F to 149°F

17JUL2013