PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 27 16 00 - COMMUNICATIONS DEVICES and ADAPTORS

SECTION 27 16 16 - COMMUNICATIONS ADAPTORS and TRANSCEIVERS

TYPE EL1500U ETHERNET EXTENDER SYSTEM – NEMA TS-2

PART 1 GENERAL

1.01	All equipment to be supplied under this specification shall be new and the current model of a standard product of an OEM of record. An OEM of record shall be defined a company whose main occupation is the manufacture for sale of the equipment supplied and which:

- Maintains a factory production line for the item submitted.

- Maintains a stock of replacement parts for the item submitted.

- Maintains engineering drawings, specifications, and operating manuals for the items submitted.

- Has published and distributed descriptive literature and equipment specifications on the items of equipment submitted.

1.02	Specifications of equipment as set forth herein are salient and minimum requirements, unless otherwise stated and shall not be construed as limiting the overall quality, quantity or performance characteristics of items furnished.

1.03	Systems and components shall have been thoroughly tested and proven in actual use.

1.04	All systems and components shall be provided with the availability of a toll free (U.S. and Canada) technical support number from the manufacturer. The number shall provide technical assistance for either the dealer/installer or the end user at no charge.

PART 2 SPECIFICATIONS

2.01	The Ethernet Extender System UTP shall be a NITEK Model EL1500U or approved equivalent, and shall be capable of providing PoE power and transmitting IP Ethernet network data over standard unshielded twisted pair (UTP) category 5 or better, network cables for distances of up to 1,960 feet (600 meters) over a 10/100 network.

2.02	The Ethernet Extender System UTP shall consist of a Transmitter unit and a Receiver unit, each of which shall be in self-contained aluminum extruded cases 1.1"H x 1.6"W x 5.1"D. The 5.1” dimension is an integral bottom panel and shall include two 3/8” mounting slots, one at each end.

2.03	The Left Panel of both the Ethernet Extender System UTP Transmitter and Receiver units shall provide an RJ45 Network Port for connection of the Receiver to the Ethernet and the Transmitter to the Network Device. The RJ45 housing shall contain two LED indicators viewable from the Left Panel. A white LED to indicate PoE power present and a green LED to indicate Ethernet connected.

2.04	The Right Panel of both Ethernet Extender System UTP Transmitter and Receiver units shall provide a Link Port RJ45 type connector for connection to the UTP cable linking the Transmitter & Receiver units and two separate LED status indicators; white to indicate PoE power present when illuminated and green to indicate a 100Mb Ethernet link, when illuminated.

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 27 16 00 - COMMUNICATIONS DEVICES and ADAPTORS

SECTION 27 16 16 - COMMUNICATIONS ADAPTORS and TRANSCEIVERS

TYPE EL1500U ETHERNET EXTENDER SYSTEM – NEMA TS-2

PART 2 – SPECIFICATIONS (continued)

2.05	The Ethernet Extender System UTP Receiver unit shall be powered by an external PoE supply, NITEK Model IP1054 or approved equivalent, or network switch with PoE output. PoE supplies shall be compliant with IEEE802.3af or IEEE 802.3at and shall be capable of providing PoE power over UTP link cable to power the Transmitter unit and also the connected network device, per paragraph 2.06.

2.06	The enclosed Transmitter unit shall be powered from the Receiver unit over the connected UTP link cable. The enclosed Transmitter unit shall in turn provide power to the connected network device, such as an IP camera. When power requirements of a network device are greater than power available from the enclosed Transmitter unit, a local PoE supply, NITEK Model PS48 or equivalent, shall be connected at the enclosed Transmitter to provide supplemental power. An optional 2.5mm mini-jack for external PoE power input connection shall also be provided on the Left Panel, of the enclosed Transmitter unit for this purpose.

2.07	The Ethernet Extender System UTP shall support any standard Network device, shall support mega-pixel cameras and multi-camera installations.

2.08	The Ethernet Extender System UTP shall operate in a manner that is completely transparent to the Network. The system shall require no IP or MAC addresses. The system shall operate as follows:

A.	A UTP cable, per paragraph 2.01, shall be connected between the RJ45 Link Port connectors on the Transmitter and Receiver.

B.	A patch cable from the Receiver shall connect to the head-end 	Network equipment and a patch cable from the enclosed Transmitter shall connect to the network device.

C.	With PoE power applied to the enclosed Transmitter, the Receiver shall receive power, then immediately establish a link with the Transmitter and begin operating as a full-duplex 100BaseT Ethernet conduit.

D.	LED indicators on both the Ethernet Extender System UTP Transmitter and Receiver units shall be illuminated to indicate Power (white LED) and Data connection (green LED).

2.09	The Ethernet Extender System shall be Environmentally Hardened to meet NEMA TS-2 Specifications:

A. Temperature & Humidity – NEMA 2.2.7

Operating Temperature Range  -40° to 75°C/ -40° to 167°F

B. Mechanical Vibration – NEMA 2.2.8

C. Mechanical Shock – NEMA 2.2.9

D. Operating Voltage – NEMA 2.1.2

E. Operating Frequency – NEMA 2.1.3

F. Transient Test – NEMA 2.1.6 through 2.1.8

2.10	The EL1500U shall have a limited lifetime warranty.

17JUL2013