PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 28 23 00 – VIDEO SURVEILLANCE

SECTION 28 23 23 – VIDEO SURVEILLANCE SYSTEMS INFRASTRUCTURE

TYPE PVR164 SIXTEEN PORT POWER, VIDEO, AND PTZ DATA RECEIVER HUB

FOR UTP CATEGORY CABLES.

PART 2 – PRODUCTS

2.1 GENERAL

2.1.1   All equipment to be supplied under this specification shall be new and the current

model of a standard product of an OEM of record. An OEM of record shall be

defined a a company whose main occupation is the manufacture for sale of the

equipment supplied and which:

- Maintains a factory production line for the item submitted.

- Maintains a stock of replacement parts for the item submitted.

- Maintains engineering drawings, specifications, and operating manuals for the items submitted.

- Has published and distributed descriptive literature and equipment specifications on the items of equipment submitted.

    - Specifications of equipment as set forth herein are salient and minimum requirements, unless otherwise stated and shall not be construed as limiting the overall quality, quantity or performance characteristics of items furnished.

    - Systems and components shall have been thoroughly tested and proven in actual use.

    - All systems and components shall be provided with the availability of a toll free (U.S. and Canada) technical support number from the manufacturer. The number shall provide technical assistance for either the dealer/installer or the end user at no charge

2.2 SPECIFICATIONS

    - The sixteen (16) port power, video, and PTZ data receiver hub, shall be a NITEK Model PVR164 or an approved equivalent, and shall be capable of providing power and receiving video and PTZ data signals for up to sixteen (16) cameras utilizing 4-pair Category 5e or better rated unshielded  twisted pair (UTP) cables, of 24 gauge or heavier up to the maximum cable length of 750 feet (228 meters) when using fixed cameras and 328 feet (100 meters) when using PTZ cameras.

    - Receiving video signals, as described in paragraph 2.2.1 shall mean that the PVR164 shall be capable of delivering a monochrome or color video signal of 525 lines at the maximum specified distance of 750 feet (228 meters).

    - A Class 2 SELV power supply shall be used to provide camera operational power. Power input shall be via four (4) sets of eight (8) screw terminal blocks each labled “1” through “4” and “+” and “-“ for the utilization of 18 gauge wire or better. Power shall be either 24VAC or 12VDC.

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 28 23 00 – VIDEO SURVEILLANCE

SECTION 28 23 23 – VIDEO SURVEILLANCE SYSTEMS INFRASTRUCTURE

TYPE PVR164 SIXTEEN PORT POWER, VIDEO, AND PTZ DATA RECEIVER HUB

FOR UTP CATEGORY CABLES.

PART 2 – PRODUCTS

  - SPECIFICATIONS (continued)

    - The PVX164 shall have sixteen (16) RJ45 modular ports in the front of the unit for the transmission of video, power, and PTZ data to and from the cameras, PTZ control apparatuses other head end control room equipment. Each RJ45 port shall be labeld “1” through “16”. The RJ45 connectors shall be in accordance with the EIA/TIA 568B standard.

    - To interface with the recording system and other head end control room equipment the rear of the unit shall have four (4) banks of four (4) female BNC connectors labled “A” through “D”.The PVR164 shall also have one (1) two-wire input per bank for PTZ control interface. The two-wire input shall be labled “+” and “-“ for power polarity when applicable. Cable management shall be present below banks “A” through “D” running the entire length of the receiver hub unit. A grounding lug shall also be present.

    - Each sixteen (16) camera dedicated RJ45 ports shall have a video and power detection LED.

    - The PVR164 shall interface with the camera via the NITEK model VB43ATF or NITEK VB31AT video balun combiner.

.

    - The integrated receiver hub of the PVR164 shall be capable of equalizing a color video signal of NTSC standard 525 lines or PAL standard 625 lines and shall deliver a baseband video signal capable of driving a 75 ohm impedance load.

    - The PVR164 shall be 1RU for rack mounting within the IDF/Telecom or MDF/head-end control room.

    - The Camera port RJ45 Modular Connector Wiring per the following Key:

Pin 1	-	Video +

Pin 2	-	Video –

Pin 3	-	Power –

Pin 4	-	Data +

Pin 5	-	Data –

Pin 6	- 	Power +

Pin 7	-	Power –

Pin 8	-	Power +

PROJECT NUMBER ______________			PROJECT NAME__________________

DATE ___________					PROJECT LOCATION _____________

TECHNICAL SPECIFICATIONS

SECTION 28 23 00 – VIDEO SURVEILLANCE

SECTION 28 23 23 – VIDEO SURVEILLANCE SYSTEMS INFRASTRUCTURE

TYPE PVR164 SIXTEEN PORT POWER, VIDEO, AND PTZ DATA RECEIVER HUB

FOR UTP CATEGORY CABLES.

2.2.9   The PVR164 shall have a Limited Lifetime Warranty

2.3 PERFORMANCE SPECIFICATIONS

    - The PVR power, video, and PTZ data receiver hub unit shall meet or exceed the following performance specifications:

- Shall be capable of distributing RS170, NTSC, PAL, SECAM and CCIR video

formats (color or monochrome) and all standard camera PTZ control

protocols.

B.  Camera ports shall be RJ45

C.  Data ports shall be RJ45

D.  Video ports shall be RJ45.

E.  The 4 sets of screw terminals for 16 to 24AWG wire.

H.  Power Requirements shall be Class 2 SELV

I.   Temperature Range -20°C to +65°C/-4°F to 149°F

J.  Humidity Range 0 to 98%, non-condensing

K.  Dimensions 1RU: L: 19” X W: 3”

17JUL2013